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Fire Safety Check Matchday 
	BLUE STAND – Eamonn Dolan Stand

	
	Checked (✔)
	
Notes

	Grounds Compound – First Lock Up

	Water Extinguisher 
	
	

	Dry Powder
	
	

	Call Point (Inside Left). Check Fire instructions in place
	
	

	Second Lock Up

	Water Extinguisher
	
	

	Dry Powder
	
	

	Foam Extinguisher
	
	

	Call Point. Check Fire Instructions in place. 
	
	

	Tunnel

	Check clean/tidy, clear of obstructions
	
	

	Gate BE

	Water Extinguisher
	
	

	CO2 Extinguisher
	
	

	Call Point. Check Fire Instruction in place
	
	

	Emergency phone (check by safety stewards) 
	
	

	Servery B17
	
	

	CO2 Extinguisher
	
	

	Fire Blanket
	
	

	Call Point. Check Fire Instructions in place.
	
	

	Meeting Point B16

	CO2 Extinguisher
	
	

	Shirt Printing Shop

	CO2 Extinguisher 
	
	

	Form Extinguisher
	
	

	Gate BD

	Water Extinguisher
	
	

	CO2 Extinguisher 
	
	

	Call Point. Check Fire Instructions in place
	
	

	Emergency phone (check by safety stewards)
	
	

	Servery B15

	CO2 Extinguishers 
	
	

	Fire Blanket
	
	

	Call Point. Check Fire Instructions in place
	
	




	
	Checked (✔)
	
Notes

	Gate BC

	Water Extinguisher
	
	

	CO2 Extinguisher
	
	

	Call Point. Check Fire Instructions in place
	
	

	Emergency phone (checked by safety stewards)
	
	

	Pitch Side

	Check advertising boards are correct
	
	

	Inspect pitch gates
	
	

	Fire Blanket by wheelchair area for pyros/drones
	
	



	
	Checked (✔)
	
Notes

	External Eateries.

	Check the safety of the LPG being used to power devices.
	
	



By dating and signing this document below, I certify all information is true and correct to the best of my knowledge. 
	Date:

	

	Name:

	Signature:
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